MasterPacT MTZ

Power Distribution

MasterPacT MTZ is a range of high current air circuit breakers (ACB)

Connection and Communication:

- They can be connected using Ethernet through the Enerlin’X System*.

    - IFE for fixed version

    - EIFE for withdrawable version

- MicroLogic 5/6 X can be fitted on all MasterPacT MTZ. They come with an embedded screen, as well as Bluetooth and NFC wireless communication protocol.

Value proposition:

MasterPact MTZ circuit breakers are Future Ready and contribute to power uptime and energy efficiency of your electrical installation thanks to:

Optimized safety

- Faultless protection

- Complete selectivity and coordination (Type 1 & 2)

- High resistance to environmental stresses

Integrated monitoring for energy efficiency

- Improved uptime with complete monitoring solution in Smart Panels

- Improved operation and maintenance using your smartphone with the EcoStruxure Power Device app, which is the single app for your Schneider Electric protection relays and circuits breakers in medium and low voltage applications

- Advanced MicroLogic X control unit can assist in providing corrective, preventive and predictive maintenance and energy management to identify potential savings

- Seamless integration enabling users access to circuit breakers data in real time with a mobile device or a PC

- Local and remote communication with trip cause (earth leakage, overload, short-circuit) and alarms (earth leakage, overload) allowing proactive operational and energy efficiency

Seamless installation and retrofit

- Wide range of online and offline software tools that improve productivity at all stages of your project (EcoStruxure Power Design - Ecodial, Product Selector, EcoStruxure Power Commission, EcoStruxure Power Device app)

- Additional digital modules available 24/7 on GoDigital – Schneider Electric e-commerce platform, offering advanced protection, measurement, energy management and network analysis functions

- Seamless retrofit thanks to identical sizes, power connections and thermal properties as for the MasterPact NW and NT ranges

- Standardized range of auxiliaries and accessories

MasterPact MTZ is a part of EcoStruxureTM Power – Schneider Electric’s open, interoperable, IoT-enabled system architecture.

ComPacT NSX

Power Distribution

Compact NSX range of molded case circuit breakers (MCCB)

Connection and Communication:

- Can be fitted with MicroLogic 5/6 which can be connected to Ethernet using BSCM, NSX Cord and IFM/IFE, or Modbus RTU using BSCM, NSX Cord and IFM.

- PowerTag Energy M250/M630 can be used on any ComPacT NSX breaker for energy measurements. This communicates wirelessly to a Panel Server.

- OF/SDs (both wired and wireless) can give you the breaker status

Value proposition:

ComPacT NSXm

Power Distribution

The ComPacT NSXm is the mini version of the Compact NSX range of molded case circuit breakers for AC applications

Connection and Communication:

- They can use PowerTag Energy F160 for energy measurements. This communicates wirelessly to a Panel Server.

- OF/SDs (both wired and wireless) can give you the breaker status

Value proposition:

Acti9

Power Distribution

The Acti9 range is part of the range of miniature circuit breakers (MCB).

Connection and Communication:

- PowerTag Energy 63 can be used with the Acti9 range for energy measurements. This communicates wirelessly to a Panel Server.

- I/O Smart Link can be used with the Acti9 range through Modbus serial (Modbus serial is also referred to as Modbus SL or Modbus RTU) connection

Value proposition:

Acti9 Active

Power Distribution

The Acti9 Active is part of the range of miniature circuit breakers (MCB) which has wireless connectivity built in.

Connection and Communication:

- Acti9 Active can connect wirelessly to a gateway which sends data to enable monitoring diagnostics, pre-alarming and alarming

- I/O Smart Link can be used with the Acti9 range through Modbus serial connection

Value proposition:

PowerTag

Class 1 Energy Meter

All PowerTag devises 
communicate wirelessly (ZigBee) to gateways such as Panel Server

| PowerTag Range | Current up to | For |
| --- | --- | --- |
| PowerTag Energy Rope | 2000A | Ideal for Brownfield panels |
| PowerTag Energy M250/M630 | 630A | ComPacT NSX |
| PowerTag Energy F160 | 160A | Can be used on ComPacT NSXm |
| PowerTag Energy M63 | 63A | RCDs and switches with an 18 mm pitch between phase |
| PowerTag Energy P63 | 63A | RCDs and switches with a pitch of 9 mm between phase and neutral |
| PowerTag Energy F63 | 63A | For other devices and specific installations, with rating less than or equal to 63 A. |

Value proposition:

PowerLogic HeatTag

Monitoring – Environmental Monitoring

HeatTag analyzes suspended gases and particles inside the switchboard and detects invisible yet hazardous transformations of cable insulators. HeatTag sensors integrated in the panel enable increased Safety and Availability

Connection and Communication:

- HeatTag Sensors communicate wirelessly (IEE 802.15.4)

Value proposition:

Panel Server

- Panel Server is the link between connected products and the two top layers of EcoStruxure (Edge Control and Apps, Analytics and Services)

- It is a data concentrator and gateway

- It communicates:

- Downstream over Modbus TCP/IP, Modbus RTU, and IEEE 802.15.4*

- Upstream over Modbus TCP/IP and Wi-Fi

*IEEE 802.15.4 s a technical standard which defines the operation of a low-rate wireless personal area network. ZigBee uses IEEE 802.15.4 . Some places you will see this written instead of ZigBee. 
This means that the product is not yet certified ZigBee, and we cannot use ZigBee in external communication.

| Substitution | PAS400 | PAS600 | PA8600 |
| --- | --- | --- | --- |
| PowerTag Link | x | x | x |
| PowerTag Link HD |  | x | x |
| Link150 |  | x | x |
| Smartlink SIB** |  | x | x |
| Com’X 210 |  | x | x |
| Com’X 510 |  |  | x |

**Substitute with Smart Panel + I/O Smart Link

Value proposition:

I/O Smart Link

Communication

The I/O Smart Link is an intelligent communication module with 11 channels. It is used for transferring data from Acti9 range devices.

Connection and Communication:

- This communicates via a Modbus RTU (SL) connection

Value proposition:

Acti 9 iEM2000 Series

Monitoring – Energy Monitoring

The iEM series are energy meters offering  an extensive real-time measurement of power quality information, including: Voltage, Current, Power, or Power Factor

Connection and Communication:

This series is compatible with:

- RS458

- M-bus

Value proposition:

Acti 9 iEM3000 Series

Monitoring – Energy Monitoring

The iEM series are energy meters offering an extensive real-time measurement of power quality information, including: Voltage, Current, Power, or Power Factor

Connection and Communication:

This series is compatible with:

- Modbus

- BACnet

- M-bus

- LON

Value proposition:

PM Series and ION series

Monitoring – Power Monitoring

- Power Meters PM5000 and PM8000 are compact and high-performance power meters for cost and network management

- ION9000 is an advanced high performance power meter with onboard power quality analytics

Connection and Communication:

| ​ | ​ | Modbus Serial​ | Ethernet​ | Serial to Ethernet gateway​ |
| --- | --- | --- | --- | --- |
| PM5000 series | PM5110, PM5310, PM5330​ | X​ | -​ | -​ |
|  | PM5320, PM5340​ | -​ | X​ | -​ |
|  | PM5500, PM5600, PM5700​ | X​ | X | X​ |
|  | PM5350​ | X​ | -​ | -​ |
| PM8000 series |  | X​ | X | X​ |
| ION9000 series |  | X | X | X |

Value proposition:

Modicon Switch

Communication

The Modicon Switch is an ethernet switch which makes it possible to create all types of Ethernet network infrastructures in buildings and industrial applications. It is equipped with 5 or 8 copper ports, and utilizes Ethernet TCP/IP

Connection and Communication:

- Modicon switches communicate using Ethernet TCP/IP

Value proposition:

Enerlin’X System

Communication – Interfaces

- eIFE (Ethernet interface embedded) on the MTZ is available for MTZ withdrawable circuit breakers and provides a direct connection to the Ethernet network.

- I/O module interface (Input/Output) for LV circuit breakers is part of the ULP system*, and offers pre-defined or configurable functions and applications, to ensure requirements can be met precisely.

- IFM (Modbus interface) is the communication interface which converts the ULP protocol into Modbus serial. This enables transmission of the circuit breaker's settings, such as voltage, current, power factors, energies and powers.

- IFE (Ethernet interface) for LV circuit breakers enables compatible devices (e.g. a MasterPacT NT/NW/MTZ or a ComPacT NSX) to be connected and accessible on the Ethernet network.

*ULP is proprietary SE protocol over CAN. This is utilized by MasterPacT and ComPacT circuit breaker ranges

Value proposition:

Enerlin’X System – HMI

Communication – Displays

- FDM128 local interface display. It is a local display for settings and control, and it is compatible with all circuit breaker ranges for up to 8 circuit breakers

- Communication through 1 RJ45 Modbus TCP/IP port

- FDM121 local interface display for a single circuit breaker and is compatible with the ComPacT and MasterPacT ranges

- Communication through the ULP system

Value proposition: